## 2008 GISMO ON-Sky Test Plan v.1.1

J.G. Staguhn & D.J. Benford

This document describes our proposed approach to integrate the GISMO instrument on the telescope and to characterize its performance by means of astronomical observations. In the first part we describe the required tests and how we plan to approach them at the telescope. In the second part of the document we present a brief first cut observing plan, which will be adjusted in near-real-time to the conditions we encounter when using GISMO at the 30m. The procedures required to set up and test the instrument and the integration/synchronization of the telescope with the bolometer data are presumed to have been completed by the efforts of the 2007 observing run and recent work.

### 1. Procedures to verify instrument alignment and performance

- Once GISMO is installed in the receiver room, a first alignment will be done without the need to look at the sky (i.e. during heterodyne optical setup):

  - Laser alignment for the two GISMO mirrors, checking optical path through to IRAM mirror M4 (laser has to hit correct positions of mirrors).

  - (Eccosorb-) cold load mapping of GISMO beam through M4, verifying proper illumination of the mirrors and quantifying any vignetting.

  - Magnetic field pickup as a function of telescope position can be measured for later use in data analysis.

- Once M4 is set to bolometer position GISMO alignment will be made by:

  - Using IRAM bidirectional Laser system together with our laser to refine the geometrical instrument alignment

  - finding the center and mapping of the GISMO beam by displacing an absorber in front of the beam at the vertex tube level

  - If necessary, the beam from GISMO will be verified using the small chopper on the lifting platform that gives access to the subreflector.

After several iterations of 2, the GISMO optics should be near being aligned for optimal illumination of the secondary. Using the same positions as 2007 will likely result in sufficiently performing illumination to enable observations within a few hours of startup.

- Conduct long integrations with shutter closed to determine noise beackground.

- Optimize bolometer bias and SQUID tuning for the observed background conditions. Conduct gain/offset calibrations using the shutter/illuminator system.

- Determine pointing and focus by observing bright sources. If necessary, this can be done on the limb of the moon, but compact sources such as Saturn (available ~6h-12h UTC), 3C345 (available 10h-20h UTC), 3C454.3 (available 17h-2h UTC), and 3C84 (available 21h-7h UTC) are strongly preferred as the realtime display signal will be obvious. Fainter solar system objects such as Uranus and Neptune and minor planets Ceres and Vesta will also be considered.

Note: at this point it might turn out to be required to go back to 2, since it might be that some mirrors need to be repositioned. However, prior experience has shown that pointing and focus are similar to the values used for MAMBO.

- Perform a skydip in order to tie measured gain parameters to sky brightness for the bolometers.

- Observe strong point-like sources, in particular those from the Mambo calibrator list and our own list of nonthermal sources (Appendices B and C). verify beam shape and beam size (verify that beam asymetry, i.e. 21"x15", observed in 2007 observing run. This test will also be used to refine the pointing and focus settings and refine our calibration. These observations, by comparing them to observations described in 3, will also help to determine main beam efficiencies.

- Verify the plate scale, pixel mapping, and array position angle by introducing alt-az offsets and locating the source in the resulting maps and by pointing on a bright source over a large elevation range.

- Measure the rotation center of the detector array. Sources transiting close to the zenith (such as 3C84 (RA 3h, Dec +41)) will be used so as to maximize the parallactic angle rate. Due to the required length of tracking these sources, this will also provide information on how the noise integrates down on bright sources. Note: there is an 83 deg elevation limit.

- We will begin regular observations with bright sources (>10Jy) in Lissajous mode and work down in half-decade steps to >10mJy sources,. The critical aspects to be tested are the radiometric integration down of noise and the consistency of measured flux with expected flux.  Appendix D lists our preliminary catalog of sources to be used for this element.

- We next proceed to integrate for a long time on bright (>10mJy) scientifically interesting sources, using point-like, compact, and then extended sources in order to verify instrument performance. The order of observations in 11-14 will be arranged according to object availability and system performance. Appendices E and F list some of these sources.

- We will observe strong, extended Galactic sources [insert sources here]. These observations will help to test the data reduction capabilities with different observing strategies (see also summary of pako scripts for a variety observing modes, Appendix A).

- We next extend these observations to sources with lower, but still strong fluxes (hundreds of milli-Jy) that will produce scientifically relevant results. Such sources include in particular SN remnants, IR dark clouds, and a variety of stars. These measurements will again help improve observing strategies for most accurate data reduction.

- Start targeted observations of point-like luminous galaxies and quasars with strong fluxes (several tens to a few mJy). These observations will reveal our capabilities to extract weaker point sources from longer (tens of minutes to a few hours) observations. We have a large number of source candidates for this that are available around the clock which are scientifically interesting to observe at 2mm.

- We will observe a few resolved extragalactic sources (e.g. NGC660, NGC891). This will provide interesting science and help understand issues related to extracting extended sources from long integration data. Scientifically, these observations will be used to validate or refute the Dwek, Galliano, and Chanial model of Hii regions and star formation-driven thermal dust emission.

- We will conduct targeted observations of extremely highly luminous and/or redshifted sources (starting with the brightest ones such as Arp220, PSS_J2322+1944, etc.) to extend our understanding of our data reduction capabilities for extracting sources from data with long integrations.

- If we should get here: Observe selected fields in Deep Survey areas (GOODS-N, COSMOS, SHADES, etc.) by making sure a number of scientifically very interesting sources will be covered.

### 2. Preliminary schedule outline for GISMO run 2008

Day 0: 1

Day 1: 2, 3, 4, 5, 6, 7, 8

Day 2: 3, 4, 5, 6, 7, 8, 9

Day 3: 6, 9, 10

Day 4: 9, 10, 11, 12, 13, 14

Day 5: 10, 11, 12, 13, 14

Day 6: 10, 11, 12, 13, 14

Day 7: 10, 11, 12, 13, 14, 15, 16

Day 8: 15, 16

### Appendix A: Pako scripts available for GISMO observations

Note: Haven’t looked over this yet! Still 2007 version!

1) gismo_observer.pako   - to set some very general parameters at the  start

2) gismo_setup.pako      - to select the RECIEVER, BACKEND  combination for GISMO

3) gismo_pointing.pako   - to do a pointing check

4) gismo_focus.pako      - to do a focus check

5) gismo_tip.pako        - to do a tip (skydip) measurement

6a) gismo_onoff.pako     - to do a single ONFOFF/SWWOBBLER observation

6b) gismo_otfmap_az.pako - to do a single OTFMAP/SWWOBBLER  observation, scanning in azimuth (rows)

6c) gismo_otfmap_el.pako - to do a single OTFMAP/SWWOBBLER  observation, scanning in elevation (columns)

### Appendix B: Selected calibration/pointing sources

These sources were selected on the basis of availability and 2mm flux greater than 1Jy, which should yield a S/N of >100 in <1 min in any usable observing conditions. Some solar system objects (minor planets) have lower fluxes, but are included for completeness because the flux accuracy can be fairly high.

The fluxes reflect our best 2 mm estimates; planet fluxes are not precisely calculated.

HB0235+164	02:38:38.9	16:36:59	! 1.5 Jy

3C84_(NGC1275)	03:19:48.1601	+41:30:42.103	! 5 Jy

HB0735+178	07:38:07.4	17:42:19	! 2 Jy

HB0736+017	07:39:18.0	01:37:05	! 1.5 Jy

HB0851+202	08:54:48.9	20:06:31	! 2 Jy

HB0923+392	09:27:03.0	39:02:21	! 3 Jy

HB1055+018	10:58:29.6	01:33:59	! 2.5 Jy

HB1308_326	13:10:28.6	32:20:44	! 1.5 Jy

3C345	16:42:58.8	39:48:37	! ~4 Jy

HB1741-038	17:43:58.8	-03:50:05	! 2 Jy

HB1749+096	17:51:32.8	09:39:01	! 2 Jy

HB1823+568	18:24:07.1	56:51:01	! 1.5 Jy

HB2145+067	21:48:05.4	06:57:39	! 2.5 Jy

BL_Lac	22:02:43.3	42:16:40	! 2 Jy

3C446	22:25:47.2	-04:57:01	! 2 Jy

3C454.3	22:53:57.75	+16:08:53.6	! ~15 Jy

Ceres	09:57:13.87	19:31:08.8	! 0.4 Jy

Juno	17:43:30.50	-12:42:55.7	! 0.02 Jy

Vesta	02:41:06.06	04:15:58.7	! 0.4 Jy

Saturn	11:16:00	06:38:24	! ~270 Jy; 16’’

Uranus	23:21:33	-05:00:24	! 8 Jy; 3.65’’

Neptune	21:35:33	-14:42:24	! 3 Jy; 2.30’’

### Appendix C: Availability of selected calibration sources

### Appendix D: Selected integration test sources

These sources were selected to represent targets to be used in testing instrument performance while integrating down to successively fainter flux limits.  This list is organized in four subsections by flux, at levels of >1Jy, >0.3Jy, >0.1Jy, >0.03Jy.

The fluxes reflect our best 2 mm estimates; planet fluxes are not precisely calculated.

Object Name              RA, Dec (J2000.0)      Type/Velocity/Redshift Flux 2mm

HB 0235+164              02h38m38.9s +16d36m59s QSO    >30000  0.9400  1.5Jy

NGC 1275                 03h19m48.1s +41d30m42s G        5264  0.0176  30Jy

HB 0735+178              07h38m07.4s +17d42m19s QSO    >30000  0.4240  2Jy

HB 0736+017              07h39m18.0s +01d37m05s QSO    >30000  0.1910  1.5Jy

OJ +287                  08h54m48.9s +20d06m31s QSO    >30000  0.3060  2Jy

HB 0923+392              09h27m03.0s +39d02m21s QSO    >30000  0.6953  3Jy

HB 1055+018              10h58m29.6s +01d33m59s QSO    >30000  0.8900  2.5Jy

3C 273                   12h29m06.7s +02d03m09s QSO    >30000  0.1583  15Jy

3C 279                   12h56m11.1s -05d47m22s QSO    >30000  0.5362  10Jy

HB 1308+326              13h10m28.6s +32d20m44s QSO    >30000  0.9960  1.5Jy

3C 345                   16h42m58.8s +39d48m37s QSO    >30000  0.5928  ~4Jy

HB 1741-038              17h43m58.8s -03d50m05s QSO    >30000  1.0540  2Jy

HB 1749+096              17h51m32.8s +09d39m01s QSO    >30000  0.3220  2Jy

HB 1823+568              18h24m07.1s +56d51m01s QSO    >30000  0.6640  1.5Jy

HB 2145+067              21h48m05.4s +06d57m39s QSO    >30000  0.9900  2.5Jy

BL Lac                   22h02m43.3s +42d16m40s QSO     20566  0.0686  2Jy

3C 446                   22h25m47.2s -04d57m01s QSO    >30000  1.4040  2Jy

3C 454.3                 22h53m57.7s +16d08m54s QSO    >30000  0.8590  7Jy

HB 0906+015              09h09m10.1s +01d21m36s QSO    >30000  1.0244  0.7Jy

3C 216                   09h09m33.5s +42d53m46s QSO    >30000  0.6703  0.5Jy

HB 0954+556              09h57m38.2s +55d22m58s QSO    >30000  0.8955  0.5Jy

MRK 0421                 11h04m27.3s +38d12m32s G        9000  0.0300  0.5Jy

FBQS J115019.2+241753    11h50m19.2s +24d17m54s QSO    >30000  0.2000  0.5Jy

W Com                    12h21m31.7s +28d13m59s QSO    >30000  0.1020  1.0Jy

HB 1532+016              15h34m52.4s +01d31m04s QSO    >30000  1.4350  0.5Jy

HB 1538+149              15h40m49.5s +14d47m46s QSO    >30000  0.6050  0.4Jy

MRK 0501                 16h53m52.2s +39d45m37s G       10092  0.0337  0.4Jy

HB 1749+701              17h48m32.8s +70d05m51s QSO    >30000  0.7700  0.4Jy

UGC 11130                18h06m50.7s +69d49m28s G       15289  0.0510  1.0Jy

Object Name              RA, Dec (J2000.0)      Type/Velocity/Redshift Flux 2mm

FBQS J0006-0004          00h06m22.6s -00d04m25s QSO    >30000  1.0370  0.1Jy

3C 043                   01h29m59.8s +23d38m20s QSO    >30000  1.4590  0.1Jy

3C 048                   01h37m41.3s +33d09m35s QSO    >30000  0.3670  0.15Jy

3C 119                   04h32m36.5s +41d38m28s G      >30000  1.0230  0.1Jy

HB 0615+820              06h26m03.0s +82d02m26s QSO    >30000  0.7100  0.25Jy

3C 161                   06h27m10.1s -05d53m05s RadioS    ...       .  0.13Jy

FBQS J074110.6+311200    07h41m10.7s +31d12m00s QSO    >30000  0.6314  0.16Jy

4C +22.21                08h23m24.7s +22d23m03s QSO    >30000  0.9510  0.3Jy

HB 1237-101              12h39m43.0s -10d23m29s QSO    >30000  0.7520  0.16Jy

4C +32.44                13h26m16.5s +31d54m10s G      >30000  0.3700  0.16Jy

HB 1351-018              13h54m06.9s -02d06m03s QSO    >30000  3.7070  0.11Jy

HB 1508-055              15h10m53.6s -05d43m07s QSO    >30000  1.1850  0.25Jy

PKS 1543+005             15h46m09.5s +00d26m25s G      >30000  0.5500  0.13Jy

MG2 J185027+2825         18h50m27.6s +28d25m13s QSO    >30000  2.5600  0.10Jy

HB 2126-158              21h29m12.2s -15d38m41s QSO    >30000  3.2680  0.16Jy

PKS 0531+19              05h34m44.5s +19d27m22s G         ...       .  0.06Jy

4C -06.18                07h44m21.6s -06d29m36s RadioS    ...       .  0.03Jy

UGC 05101                09h35m51.6s +61d21m11s G       11802  0.0394  0.03Jy

UGC 08058                12h56m14.2s +56d52m25s G       12642  0.0421  0.03Jy

MRK 0273                 13h44m42.1s +55d53m13s G       11326  0.0378  0.03Jy

3C 298                   14h19m08.2s +06d28m35s QSO    >30000  1.4373  0.03Jy

3C 303.1                 14h43m14.8s +77d07m29s G      >30000  0.2670  0.03Jy

HB 1524-136              15h26m59.4s -13d51m00s QSO    >30000  1.6870  0.08Jy

PKS 1607+26              16h09m13.3s +26d41m29s G      >30000  0.4730  0.03Jy

PKS 2127+04              21h30m32.9s +05d02m17s G      >30000  0.9900  0.08Jy

### Appendix E: Selected Science Sources

These sources were selected to represent bright (≥10 mJy) targets to be used for early science results.

Cygnus_A	19:59:28.3	40:44:02	! ~1Jy total, extended

HB0716+714	08:21:53.4	71:20:36	! BL Lac-type, 4 Jy?; variability

MonR2IRS2	06:05:20.00	-06:22:39.70	! peak ~0.5Jy, 0.01Jy depth

DR21 			! 360mJy/beam @ 2mm

NGC660	01:43:02.4	13:38:43	! Cold Dust

NGC891	02:22:33.4	42:20:57 	! Cold Dust

Arp220	15:34:57.1	23:30:11 	! ULIRG ~0.01 Jy

IIZw40	05:55:42.6	03:23:32 	! Dwek  ~0.02 Jy

IC342	03:46:48.5	68:05:46 	! Dwek 0.01 – 0.06 Jy

NGC1068	02:42:40.7	00:00:48 	! Dwek right at turnover syncr./dust

NGC6240	16:52:58.9	02:24:03 	! Dwek ~ 0.01 Jy

Orion-IRC2	05:32:47.00	-05:24:24.00	! extend to North?

APM08279+5254	08:31:41.59	52:45:17.0 	! J2000; 10mJy?

IRDC_43	18:53:18.5   01:25:4.6 ! required rms 2mJy

IRDC 30	18:44:19.1  -04 00 2.6 ! required rms 2mJy

! SN Remnants

Tycho    00:25:18  +64:09:00 ! FLUX 2.63 0.61 ! diam =   8'

3C58     02:05:41  +64:49:00 ! FLUX 20.0 0.10 ! diam = 9x5'

Crab   05:34:31  +22:01:00   ! FLUX 231. 0.30 ! diam = 7x5' peak=8mJy/asec2

Kepler   17:30:42  -21:29:00  LSR 0.0 FLUX 0.77 0.64 ! diam =   3' peak=

Cas_A    23:23:26  +58:48:00  LSR 0.0 FLUX 69.9 0.77 ! diam =   5' peak=0.11K

### Appendix F: Selected Weak Science Sources

M104(Sombrero)      12:39:59.4 -11:37:23  !  0.0034 Jy

IC5146 (cold filament with embedded presetallar cores): 8mJy/beam

IRAS F10214+4724 10:24:34.54 +47:09:09.8 ! z=2.2855 F1.2=24mJy? 850=50mJy

APM 08279+5255   08:31:41.64 +52:45:17.5 !RQQ z=3.9 F1.2=20mJy  850=80

Cloverleaf       14:15:46.23 +11:29:44.0 ! z= 2.558 F1.2=18mJy 850=52

PSS J2322+1944   23:22:07.25 +19:44:22.08 ! z=4.1192 F1.2=9.6mJy 850=22.5

BR 1202-0725     12:05:22.98 -07:42:29.9 ! z=4.69 F1.2=12.6mJy 850=42

PSS1418+4449     14:18:31.7  +44:49:37.6  ! z=4.32  F1.2=6.3mJy  850=10.4

SDSS J1148+5251  11:48:16.64 +52:51:50.3 ! z=6.418 F1.2=5.0mJy

### Appendix F: Availability of selected astronomical sources

The following plot shows the availability of selected sources. This plot is meant to illustrate the completeness of coverage of sources throughout the day, and is by no means a complete list of GISMO sources.